NuDET NEUTRON

Highly efficient and gamma insensitive neutron detectors. Newly developed 6LiF/ZnS(Ag) based detectors are available in both standard and customised dimensions and available with optional HDPE moderator.

Detectors are supplied with standard 14-pin socket or with voltage dividers and MHV/ BNC connectors.

Moderator thickness: 70 mm
LiF/ZnS detector: 50x100x500 mm
PMT: 2” with standard 14-pin
Mod thickness: 30 mm HDPE